## EEP-Profile
Nr |  |  |  | Profil | impl. | tested | Beschreibung
1 | 4BS | A5 | 2 | A5-02-01 | x
2 |  |  |  | A5-02-02 | x
3 |  |  |  | A5-02-03 | x
4 |  |  |  | A5-02-04 | x
5 |  |  |  | A5-02-05 | x
6 |  |  |  | A5-02-06 | x
7 |  |  |  | A5-02-07 | x
8 |  |  |  | A5-02-08 | x
9 |  |  |  | A5-02-09 | x
10 |  |  |  | A5-02-0A | x
11 |  |  |  | A5-02-0B | x
12 |  |  |  | A5-02-10 | x
13 |  |  |  | A5-02-11 | x
14 |  |  |  | A5-02-12 | x
15 |  |  |  | A5-02-13 | x
16 |  |  |  | A5-02-14 | x
17 |  |  |  | A5-02-15 | x
18 |  |  |  | A5-02-16 | x
19 |  |  |  | A5-02-17 | x
20 |  |  |  | A5-02-18 | x
21 |  |  |  | A5-02-19 | x
22 |  |  |  | A5-02-1A | x
23 |  |  |  | A5-02-1B | x
24 |  |  |  | A5-02-20 | x
25 |  |  |  | A5-02-30 | x
26 |  |  | 4 | A5-04-01 | x
27 |  |  |  | A5-04-02 | x
28 |  |  |  | A5-04-03 | x
29 |  |  |  | A5-04-04
30 |  |  | 5 | A5-05-01
31 |  |  | 6 | A5-06-01 | x
32 |  |  |  | A5-06-02 | x
33 |  |  |  | A5-06-03 | x
34 |  |  |  | A5-06-04 | ?
35 |  |  |  | A5-06-05 | ?
36 |  |  | 7 | A5-07-01 | x |  | PIR
37 |  |  |  | A5-07-02 | x |  | PIR
38 |  |  |  | A5-07-03 | x | passed | PIR
39 |  |  | 8 | A5-08-01
40 |  |  |  | A5-08-02
41 |  |  |  | A5-08-03
42 |  |  | 9 | A5-09-02
43 |  |  |  | A5-09-04
44 |  |  |  | A5-09-05
45 |  |  |  | A5-09-06
46 |  |  |  | A5-09-07
47 |  |  |  | A5-09-08
48 |  |  |  | A5-09-09
49 |  |  |  | A5-09-0A
50 |  |  |  | A5-09-0B
51 |  |  |  | A5-09-0C
52 |  |  | 10 | A5-10-01
53 |  |  |  | A5-10-02
54 |  |  |  | A5-10-03
55 |  |  |  | A5-10-04
56 |  |  |  | A5-10-05
57 |  |  |  | A5-10-06
58 |  |  |  | A5-10-07
59 |  |  |  | A5-10-08
60 |  |  |  | A5-10-09
61 |  |  |  | A5-10-0A
62 |  |  |  | A5-10-0B
63 |  |  |  | A5-10-0C
64 |  |  |  | A5-10-0D
65 |  |  |  | A5-10-10
66 |  |  |  | A5-10-11
67 |  |  |  | A5-10-12
68 |  |  |  | A5-10-13
69 |  |  |  | A5-10-14
70 |  |  |  | A5-10-15
71 |  |  |  | A5-10-16
72 |  |  |  | A5-10-17
73 |  |  |  | A5-10-18
74 |  |  |  | A5-10-19
75 |  |  |  | A5-10-1A
76 |  |  |  | A5-10-1B
77 |  |  |  | A5-10-1C
78 |  |  |  | A5-10-1D
79 |  |  |  | A5-10-1E
80 |  |  |  | A5-10-1F
81 |  |  |  | A5-10-20
82 |  |  |  | A5-10-21
83 |  |  |  | A5-10-22
84 |  |  |  | A5-10-23
85 |  |  | 11 | A5-11-01
86 |  |  |  | A5-11-02
87 |  |  |  | A5-11-03
88 |  |  |  | A5-11-04
89 |  |  |  | A5-11-05
90 |  |  | 12 | A5-12-00
91 |  |  |  | A5-12-01 | x
92 |  |  |  | A5-12-02
93 |  |  |  | A5-12-03
94 |  |  |  | A5-12-04
95 |  |  |  | A5-12-05
96 |  |  |  | A5-12-10
97 |  |  | 13 | A5-13-01
98 |  |  |  | A5-13-02
99 |  |  |  | A5-13-03
100 |  |  |  | A5-13-04
101 |  |  |  | A5-13-05
102 |  |  |  | A5-13-06
103 |  |  |  | A5-13-07
104 |  |  |  | A5-13-08
105 |  |  |  | A5-13-10
106 |  |  | 14 | A5-14-01 | x
107 |  |  |  | A5-14-02 | x
108 |  |  |  | A5-14-03 | x
109 |  |  |  | A5-14-04 | x
110 |  |  |  | A5-14-05 | x
111 |  |  |  | A5-14-06 | x
112 |  |  |  | A5-14-07 | x
113 |  |  |  | A5-14-08 | x
114 |  |  |  | A5-14-09 | x
115 |  |  |  | A5-14-0A | x
116 |  |  | 20 | A5-20-01
117 |  |  |  | A5-20-02
118 |  |  |  | A5-20-03
119 |  |  |  | A5-20-04
120 |  |  |  | A5-20-05
121 |  |  |  | A5-20-06 | x | passed | MVA-005 Heizungsaktor
122 |  |  |  | A5-20-10
123 |  |  |  | A5-20-11
124 |  |  |  | A5-20-12
125 |  |  | 30 | A5-30-01
126 |  |  |  | A5-30-02
127 |  |  |  | A5-30-03
128 |  |  |  | A5-30-04
129 |  |  |  | A5-30-05
130 |  |  |  | A5-30-06
131 |  |  | 37 | A5-37-01
132 |  |  | 38 | A5-38-08
133 |  |  |  | A5-38-09
134 |  |  | 3F | A5-3F-00
135 |  |  |  | A5-3F-7F
136 | VLD | D2 | 0 | D2-00-01
137 |  |  | 1 | D2-01-00
138 |  |  |  | D2-01-01
139 |  |  |  | D2-01-02
140 |  |  |  | D2-01-03
141 |  |  |  | D2-01-04
142 |  |  |  | D2-01-05
143 |  |  |  | D2-01-06
144 |  |  |  | D2-01-07
145 |  |  |  | D2-01-08
146 |  |  |  | D2-01-09
147 |  |  |  | D2-01-0A
148 |  |  |  | D2-01-0B
149 |  |  |  | D2-01-0C
150 |  |  |  | D2-01-0D
151 |  |  |  | D2-01-0E | x
152 |  |  |  | D2-01-0F
153 |  |  |  | D2-01-10
154 |  |  |  | D2-01-11
155 |  |  |  | D2-01-12 | x | passed | NodOn 2CH Aktor
156 |  |  |  | D2-01-13
157 |  |  |  | D2-01-14
158 |  |  |  | D2-01-15
159 |  |  |  | D2-01-16
160 |  |  | 2 | D2-02-00
161 |  |  |  | D2-02-01
162 |  |  |  | D2-02-02
163 |  |  | 3 | D2-03-00
164 |  |  |  | D2-03-0A | (x) |  | NodOn TSB-2-2-01
165 |  |  |  | D2-03-10
166 |  |  |  | D2-03-20
167 |  |  | 4 | D2-04-00 | x | passed | CO2, Hum, Temp
168 |  |  |  | D2-04-01 | x
169 |  |  |  | D2-04-02 | x
170 |  |  |  | D2-04-03 | x
171 |  |  |  | D2-04-04 | x
172 |  |  |  | D2-04-05 | x
173 |  |  |  | D2-04-06 | x
174 |  |  |  | D2-04-07 | x
175 |  |  |  | D2-04-08 | x
176 |  |  |  | D2-04-09 | x
177 |  |  |  | D2-04-0A
178 |  |  |  | D2-04-10 | x
179 |  |  |  | D2-04-1A | x
180 |  |  |  | D2-04-1B | x
181 |  |  |  | D2-04-1C | x
182 |  |  |  | D2-04-1D | x
183 |  |  |  | D2-04-1E | x
184 |  |  |  | D2-04-1F
185 |  |  | 5 | D2-05-00
186 |  |  |  | D2-05-01
187 |  |  |  | D2-05-02
188 |  |  |  | D2-05-03
189 |  |  |  | D2-05-04
190 |  |  |  | D2-05-05
191 |  |  | 6 | D2-06-01
192 |  |  |  | D2-06-10
193 |  |  |  | D2-06-20
194 |  |  |  | D2-06-40
195 |  |  |  | D2-06-50
196 |  |  | 7 | D2-07-00
197 |  |  | 0A | D2-0A-00
198 |  |  |  | D2-0A-01
199 |  |  | 10 | D2-10-00
200 |  |  |  | D2-10-01
201 |  |  |  | D2-10-02
202 |  |  |  | D2-10-30
203 |  |  |  | D2-10-31
204 |  |  |  | D2-10-32
205 |  |  | 11 | D2-11-01
206 |  |  |  | D2-11-02
207 |  |  |  | D2-11-03
208 |  |  |  | D2-11-04
209 |  |  |  | D2-11-05
210 |  |  |  | D2-11-06
211 |  |  |  | D2-11-07
212 |  |  |  | D2-11-08
213 |  |  |  | D2-11-20
214 |  |  | 14 | D2-14-00
215 |  |  |  | D2-14-01
216 |  |  |  | D2-14-02
217 |  |  |  | D2-14-03
218 |  |  |  | D2-14-04
219 |  |  |  | D2-14-05
220 |  |  |  | D2-14-06
221 |  |  |  | D2-14-07
222 |  |  |  | D2-14-08
223 |  |  |  | D2-14-09
224 |  |  |  | D2-14-0A
225 |  |  |  | D2-14-0B
226 |  |  |  | D2-14-0C
227 |  |  |  | D2-14-0D
228 |  |  |  | D2-14-0E
229 |  |  |  | D2-14-0F
230 |  |  |  | D2-14-10
231 |  |  |  | D2-14-1A
232 |  |  |  | D2-14-1B
233 |  |  |  | D2-14-1C
234 |  |  |  | D2-14-1D
235 |  |  |  | D2-14-20
236 |  |  |  | D2-14-21
237 |  |  |  | D2-14-22
238 |  |  |  | D2-14-23
239 |  |  |  | D2-14-24
240 |  |  |  | D2-14-25
241 |  |  |  | D2-14-30 | x
242 |  |  |  | D2-14-31
243 |  |  |  | D2-14-40
244 |  |  |  | D2-14-41
245 |  |  |  | D2-14-50
246 |  |  |  | D2-14-51
247 |  |  |  | D2-14-52
248 |  |  |  | D2-14-52
249 |  |  |  | D2-14-53
250 |  |  |  | D2-14-54
251 |  |  |  | D2-14-55
252 |  |  | 15 | D2-15-00
253 |  |  | 20 | D2-20-00
254 |  |  |  | D2-20-01
255 |  |  |  | D2-20-02
256 |  |  | 30 | D2-30-00
257 |  |  |  | D2-30-01
258 |  |  |  | D2-30-02
259 |  |  |  | D2-30-03
260 |  |  |  | D2-30-04
261 |  |  |  | D2-30-05
262 |  |  |  | D2-30-06
263 |  |  | 31 | D2-31-00
264 |  |  |  | D2-31-01
265 |  |  | 32 | D2-32-00
266 |  |  |  | D2-32-01
267 |  |  |  | D2-32-02
268 |  |  | 33 | D2-33-00
269 |  |  | 34 | D2-34-00
270 |  |  |  | D2-34-01
271 |  |  |  | D2-34-02
272 |  |  | 40 | D2-40-00
273 |  |  |  | D2-40-01
274 |  |  | 50 | D2-50-00
275 |  |  |  | D2-50-01
276 |  |  |  | D2-50-10
277 |  |  |  | D2-50-11
278 |  |  | A0 | D2-A0-01
279 |  |  | B0 | D2-B0-00
280 |  |  | B1 | D2-B1-00
281 | 1BS | D5 | 0 | D5-00-01 | x | passed | Fensterkontakt
282 | RPS | F6 | 1 | F6-01-01 | x | passed | Rocker Switch 1Wippe
283 |  |  | 2 | F6-02-01 | x | passed | Rocker Switch 2Wippen
284 |  |  |  | F6-02-02 | x
285 |  |  |  | F6-02-03 | x
286 |  |  |  | F6-02-04 | x
287 |  |  | 3 | F6-03-01 | x
288 |  |  |  | F6-03-02 | x
289 |  |  | 4 | F6-04-01
290 |  |  |  | F6-04-02
291 |  |  | 5 | F6-05-00 | x
292 |  |  |  | F6-05-01 | x
293 |  |  |  | F6-05-02 | x
294 |  |  | 10 | F6-10-00 | x | passed | Fenstergriff
295 |  |  |  | F6-10-01 | x | passed | Fenstergriff
400 |  |  |  | A5-06-01-V2 | x | passed | Dämmerungssensor TF-AHDSB
401 |  |  |  | D5-00-01-V2
500 |  |  |  | Rocker

## Parameter
|  |  | BIT | Bit Pos | POS
ProfilSelection | P4 | Profil selection | 8 |  | 0
ProfilSelection_EEP | UP5 | Selection RPS | 16 |  | 1
| UP6 | Selection 1BS
| UP7 | Selection 4BS
| UP8 | Selection VLD
DirKnxEnocean | P9 | Direction KNX - Enocean | 8 |  | 3
ProfilSelection4BS | UP10 | A5-02 | 16 |  | 4
| UP11 | A5-04
| UP12 | A5-05
| UP13 | A5-06
| UP14 | A5-07
| UP15 | A5-08
| UP16 | A5-09
| UP17 | A5-10
| UP18 | A5-11
| UP19 | A5-12
| UP20 | A5-13
| UP21 | A5-14
| UP22 | A5-20
| UP23 | A5-30
| UP69 | D5-00-01 Spg/Engery Values
ProfilSelectionVLD | UP24 | D2-00
| UP25 | D2-01
| UP26 | D2-02
| UP27 | D2-03
| UP28 | D2-04
| UP29 | D2-05
| UP30 | D2-06
| UP31 | D2-10
| UP32 | D2-11
| UP63 | D2-14
| UP33 | D2-20
| UP34 | D2-30
| UP35 | D2-31
| UP36 | D2-32
| UP37 | D2-33
| UP38 | D2-34
| UP39 | D2-40
| UP40 | D2-50
| UP41 | D2-A0
| UP42 | D2-B0
RockerProfil | P43 |  | 8 |  | 6
RockerFunktionA | P44 |  | 8 |  | 7
RockerASzeneA | P45 |  | 8 |  | 8
RockerASzeneB | P46 |  | 8 |  | 9
RockerFunktionB | P47 |  | 8 |  | 10
RockerBSzeneA | P48 |  | 8 |  | 11
RockerBSzeneB | P49 |  | 8 |  | 12
RockerFunktionAB | P50 |  | 8 |  | 13
RockerABSzeneA | P51 |  | 8 |  | 14
RockerABSzeneB | P52 |  | 8 |  | 15
KanalBeschreibung | P53 |  | 0
ProfilRockerFunktionKNX | P54 |  | 8 |  | 16
ID Nibble0 | UP55 |  | 8 |  | 17
ID Nibble1 | UP56
ID Nibble2 | UP57
ID Nibble3 | UP58
ID Nibble4 | UP59
ID Nibble5 | UP60
ID Nibble6 | UP61
ID Nibble7 | UP62
BELEGT OBEN D2-14 | UP63
A52006RFC | UP64 |  | 2 | 4-6 | 21 | union 1 Bytes
A52006SPS | UP65 |  | 1 | 2
A52006TSL | UP66 |  | 1 | 1
A51409closeValue | UP67 |  | 1 | 1
RockerLongPressWaitTime | UP68 |  | 8
BELEGT OBEN ProfilSelection_4BS | UP69
A52001SPS | UP70 |  | 1 | 3 | 21
A52004MC | UP71 |  | 1 | 0
A52004DSO | UP72 |  | 2 | 1
A52004WCU | UP73 |  | 8 | 0 | 22 | union 2 Bytes
D2010EEP | UP74 |  | 1 | 0 | 22 | union 2
D2010ERM | UP75 |  | 1 | 1 | 22 | union 2
D2010EUNE | UP76 |  | 1 | 2 | 22 | union 2
D2010EUNP | UP77 |  | 1 | 3 | 22 | union 2
D2010EMIT | UP78 |  | 8 | 0 | 21 | union 1
D2010EMAT | UP79 |  | 8 | 0 | 23 | union 3
D2010EdeltaEwh | UP80 |  | 16 | 0 | 24 | union 4
D2010EdeltaEkwh | UP81 |  | 16 | 0 | 24 | union 4
D2010EdeltaPw | UP82 |  | 16 | 0 | 26 | union 5
D2010EdeltaPkw | UP83 |  | 16 | 0 | 26 | union 5
Repeater ON OFF | P100000
Base-ID Ändern | P100001
ID Nibble0 | UP100002
ID Nibble1 | UP100003
ID Nibble2 | UP100004
ID Nibble3 | UP100005
ID Nibble4 | UP100006
ID Nibble5 | UP100007
ID Nibble6 | UP100008
ID Nibble7 | UP100009
Repeater Level | P100010

## KOs
0 | 1 | IN_CH_1_DPT_01 | schalten rocker | DPT1.001 |  |  | Profil | KO_0 | KO_1 | KO_2 | KO_3 | KO_4 | KO_5 | KO_6 | KO_7 | KO_8 | KO_9
0 | 2 | IN_CH_1_DPT_01 | schalten A | DPT1.001 |  |  | A5-14-09 |  | Out: Fenster offen | Out: Fenster gekippt | Out: Fenster Status | Out: Battery
0 | 3 | IN_CH_1_DPT_03 | Dimmen | DPT3.007 | volt | 4 | A5-20-01 | Input: Set Temp & Set Pos | Input: Summer Bit | Input: Run init | Input: RaumTemp | Input: Service Command |  | O: Temperatur | O: current pos 0...100% |  | O: Status Bits
0 | 4 | IN_CH_1_DPT_03 | Blinds | DPT3.008 | Vib | 0 | A5-20-04 | Input: Set Pos | Input: Set Temp | Input: Com Intervall | Input: Button Lock | Input: Service Command | O: Failure Code | O: Feed/setpoint Temperatur | O: current pos 0...100% | O: Room Temp | O: Status Bits
0 | 5 | OUT_CH_1_DPT_17 | Szene | DPT17.001 | cont | 3 | A5-20-06 | Input: Set Temp & Set Pos | Input: Summer Bit | Input: Com Intervall | Input: RaumTemp | Input: Standby |  | O: Temperatur | O: current pos 0...100% | O: Temperatur Offset | O: Status Bits
0 | 6 | UT_CH_1_DPT_01 | Door/Window | DPT1.019 | DCT | 1 | D2-03-0A | [6 empty] | Output: single click | Output: double click | Output: long click | Output: long release
0 | 7 | OUT_CH_1_DPT_01 | PIR | DPT1.018 | LCT | 3 | D2-14-30 |  | Output: TMP8 (Temp) | Output: Hum | Output: Smoke alarm | Output: ES (Energy Status) | Output: RPLT (Product life T) | Output: HCI (Comfort Index) | Output: IAQTH (AIR Quality) | Output: Time since last | Output: Status
0 | 8 | OUT_CH_1_DPT_09 | CO2 / VOC | DPT9.008 | Illu | 1 | D2-01-12 | Input: CHA | Input CHB | Output: Status CHA | Output: Status CHB | Input: Statuswerte
0 | 9 | OUT_CH_1_DPT_01 | CH1 Status | DPT1.011 | CT | 1 2 | D2-01-0E | Input: CH | Input: Anfrage Messwerte | Input: Statuswerte |  | Output: Status CH | Output: Messwert (Wh) | Output: Messwert (KWh) | Output: Messwert (W) | Output: Messwert (KW)
0 | 10 | OUT_CH_1_DPT_05 | Jalousie Status | DPT5.004 |  |  | A5-08-01/03 | Out: PIR | Out: LUX | Out: Battery |  |  | O: OCC pressed/released | O: Temperatur
0 | 11 | IN_CH_1_DPT_01 | schalten Aktor CH1 | DPT1.001 |  |  | Rocker | Input: schalten/Dim/blinds | Wippe A: Schalten/Szene/fahren | Wippe A: Dimming/blinds | Wippe B: Schalten/Szene/fahren | Wippe B: Dimming/blinds | Wippe AB: Schalten/Szene/fahren | Wippe AB: Dimming/blinds
0 | 12 | Out_CH1_DPT_01 | Bool (Vibration det) | DPT1.002 |  |  | D5-00-01 V2 |  |  |  |  | Out: Battery voltage |  |  | Out: Energy voltage
0 | 13 | IN_CH_1_DPT_09 | Set Temp | DPT9.001 | 0--100% | 0 | D2-06-01 | Out: PIR | Out: Fenster Status1 | Out: Fenster Status2 | Out: Alarm | Out: Battery (%) (0h-64h) | O: LUX | O: Temperatur | Out: Hum | O: TasterR & Jal Auf/Ab | O: TasterL & Jal Auf/Ab
0 | 14 | IN_CH_1_DPT_05 | Set Pos | DPT5.001 | Temp offset | 2 | D2-06-50 | Out: Battery (%) | Out: Fenster Status |  | Out: Alarm (Burglary) | Out: Change Battery | O: Counter Status |  |  |  | O: Status Bits
0 | 15 | Out_CH1_DPT_05 | Battery (%) | DPT5.010 | Temp | 1 | A5-12-01 | [6 empty] | Output: Messwert (KWh) | Output: Messwert (W)
0 | 16 |  |  |  | Status Bytes | 4 | D2-14-41 |  | Output: TMP8 (Temp) | Output: Hum | Out: Fenster Status |  | O: LUX | Accel X | Accel Y | Accel Z | Accel Status
0 | 17 | [5 empty] | F6-02-03 (K-E) | Input: CHA | Input CHB
0 | 18 | [5 empty] | F6-02-03 (E-K) | CH1 Status | CH2 Status
0 | 19
1 | 1 | OUT_CH_1_DPT_01 | Wippe A: schalten | DPT1.001
1 | 2 | IN_CH_1_DPT_01 | schalten B | DPT1.001
1 | 3 | OUT_CH_1_DPT_01 | Wippe A: fahren AUF / AB | DPT1.008
1 | 4 | IN_CH_1_DPT_01 | Sommer Schaltung | DPT1.001
1 | 5 | OUT_CH_1_DPT_17 | Wippe A: Szene | DPT17.001
1 | 6 | OUT_CH_1_DPT_09 | LUX | DPT9.004
1 | 7 | OUT_CH_1_DPT_01 | Door/window offen | DPT1.019
1 | 8 | OUT_CH_1_DPT_09 | Temp | DPT9.001
1 | 9 | OUT_CH_1_DPT_01 | CH2 Status | DPT1.011
1 | 10 | OUT_CH_1_DPT_05 | Jalousie Winkel | DPT5.004
1 | 11 | IN_CH_1_DPT_01 | schalten Aktor CH2 | DPT1.001
1 | 12 | IN_CH_1_DPT_09 | Set Temp | DPT9.001
1 | 13 | OUT_CH_1_DPT_01 | Fesnter Status 1 | DPT1.019
1 | 14 | OUT_CH_1_DPT_05 | Fesnter Status | DPT5.010
1 | 15 | IN_CH_1_DPT_01 | Abfrage Messwerte | DPT1.001
1 | 16
1 | 17
1 | 18
1 | 19
2 | 1 | OUT_CH_1_DPT_01 | Wippe A: Lamelle/Stopp | DPT1.009
2 | 2 | OUT_CH_1_DPT_03 | Wippe A: Dimming | DPT3.007
2 | 3 | OUT_CH_1_DPT_09 | Bat voltage | DPT9.020
2 | 4 | OUT_CH_1_DPT_01 | Door/window gekippt | DPT1.019
2 | 5 | OUT_CH_1_DPT_09 | Hum | DPT9.007
2 | 6 | OUT_CH_1_DPT_01 | CH1 Status | DPT1.011
2 | 7 | IN_CH1_DPT_05 | Stutus 8 bits | DPT5.010
2 | 8 | IN_CH_1_DPT_05 | Kommuniikations interval | DPT5.010
2 | 9 | IN_CH_1_DPT_01 | Reference RUN | DPT1.003
2 | 10 | OUT_CH_1_DPT_01 | Fenster Status 2 | DPT1.019
2 | 11 | IN_CH_1_DPT_01 | Abfrage Switch | DPT1.001
2 | 12
2 | 13
2 | 14
2 | 15
2 | 16
2 | 17
2 | 18
2 | 19
3 | 1 | OUT_CH_1_DPT_01 | Wippe B: schalten | DPT1.001
3 | 2 | OUT_CH_1_DPT_03 | Wippe B: fahren AUF / AB | DPT1.008
3 | 3 | OUT_CH_1_DPT_17 | Wippe B: Szene | DPT17.001
3 | 4 | OUT_CH_1_DPT_01 | Day/night | DPT1.002
3 | 5 | OUT_CH_1_DPT_01 | CH2 Status | DPT1.011
3 | 6 | Out_CH1_DPT_01 | Open/close | DPT1.009
3 | 7 | OUT_CH_1_DPT_01 | Alarm | DPT1.005
3 | 8 | IN_CH_1_DPT_09 | Raum Temperatur | DPT9.001
3 | 9 | IN_CH_1_DPT_01 | Button Lock | DPT1.003
3 | 10
3 | 11
3 | 12
3 | 13
3 | 14
3 | 15
3 | 16
3 | 17
3 | 18
3 | 19
4 | 1 | Out_CH1_DPT_05 | Battery | DPT5.010
4 | 2 | OUT_CH_1_DPT_03 | Wippe B: Dimming | DPT3.007
4 | 3 | OUT_CH_1_DPT_01 | Wippe B: Lamelle/Stopp | DPT1.009
4 | 4 | IN_CH_1_DPT_01 | request Values | DPT1.001
4 | 5 | OUT_CH_1_DPT_09 | Bat voltage | DPT9.020
4 | 6 | IN_CH_1_DPT_01 | Standby | DPT1.003
4 | 7 | OUT_CH_1_DPT_01 | Alarm Energy Low | DPT1.005
4 | 8 | IN_CH_1_DPT_05 | Service Command | DPT5.010
4 | 9 | OUT_CH_1_DPT_01 | Status Switch | DPT1.001
4 | 10
4 | 11 | Out_CH1_DPT_05 | Battery (%) (0h - 64h) | DPT5.004
4 | 12
4 | 13
4 | 14
4 | 15
4 | 16
4 | 17
4 | 18
4 | 19
5 | 1 | Out_CH1_DPT_05 | Product Life time | DPT5.010
5 | 2 | Out_CH1_DPT_01 | Pressed / release | DPT1.003
5 | 3 | OUT_CH_1_DPT_01 | Wippe AB: schalten | DPT1.001
5 | 4 | OUT_CH_1_DPT_03 | Wippe AB: fahren AUF / AB | DPT1.008
5 | 5 | OUT_CH_1_DPT_17 | Wippe AB: Szene | DPT17.001
5 | 6 | Out_CH1_DPT_05 | Failure Code | DPT5.010
5 | 7 | OUT_CH_1_DPT_09 | LUX | DPT9.004
5 | 8 | OUT_CH_1_DPT_12 | Counter Status | DPT12.001
5 | 9 | Output DPT13 | Messwerte (Wh) | DPT13.010
5 | 10
5 | 11
5 | 12
5 | 13
5 | 14
5 | 15
5 | 16
5 | 17
5 | 18
5 | 19
6 | 1 | OUT_CH_1_DPT_09 | Temp | DPT9.001
6 | 2 | Out_CH1_DPT_05 | HCI Human Comnfort Index | DPT5.010
6 | 3 | OUT_CH_1_DPT_01 | single Presss | DPT1.001
6 | 4 | OUT_CH_1_DPT_03 | Wippe AB: Dimming | DPT3.007
6 | 5 | OUT_CH_1_DPT_03 | Wippe AB: Lammelenwinkel/Stop | DPT1.009
6 | 6 | OUT_CH_1_DPT_09 | Info Set Point Temp | DPT9.001
6 | 7 | OUT_CH_1_DPT_09 | Vorlauf Temperatur | DPT9.001
6 | 8 | Output DPT13 | Messwerte (KWh) | DPT13.013
6 | 9 | OUT_CH_1_DPT_14 | ACC_X | DPT14.001
6 | 10
6 | 11
6 | 12
6 | 13
6 | 14
6 | 15
6 | 16
6 | 17
6 | 18
6 | 19
7 | 1 | OUT_CH_1_DPT_05 | Ventil Pos in % | DPT5.001
7 | 2 | OUT_CH_1_DPT_01 | double Press | DPT1.001
7 | 3 | Out_CH1_DPT_05 | AIR Quality | DPT5.010
7 | 4 | OUT_CH_1_DPT_09 | Energie-Speicher (0..5V) | DPT9.020
7 | 5 | OUT_CH_1_DPT_09 | Hum | DPT9.007
7 | 6 | Output DPT14 | Messwerte (W) | DPT14.056
7 | 7 | OUT_CH_1_DPT_14 | ACC_Y | DPT14.001
7 | 8 | Out_CH1_DPT_05 | VOC_Identification | DPT5.010
7 | 9
7 | 10
7 | 11
7 | 12
7 | 13
7 | 14
7 | 15
7 | 16
7 | 17
7 | 18
7 | 19
8 | 1 | OUT_CH_1_DPT_09 | Temp Offset | DPT9.001
8 | 2 | OUT_CH_1_DPT_01 | Long Press | DPT1.001
8 | 3 | Out_CH1_DPT_05 | Time since last maintance | DPT5.010
8 | 4 | OUT_CH_1_DPT_09 | Raum Temperatur | DPT9.001
8 | 5 | OUT_CH_1_DPT_01 | Taster 1 | DPT1.001
8 | 6 | Output DPT9 | Messwerte (KW) | DPT9.024
8 | 7 | OUT_CH_1_DPT_14 | ACC_X | DPT14.001
8 | 8
8 | 9
8 | 10
8 | 11
8 | 12
8 | 13
8 | 14
8 | 15
8 | 16
8 | 17
8 | 18
8 | 19
9 | 1 | Out_CH1_DPT_05 | Stutus 8 bits | DPT5.010
9 | 2 | OUT_CH_1_DPT_01 | long release | DPT1.001
9 | 3 | OUT_CH_1_DPT_01 | Taster 2 | DPT1.001
9 | 4 | Out_CH1_DPT_05 | Tarif | DPT5.010
9 | 5 | Out_CH1_DPT_05 | Sensor Status | DPT5.010
9 | 6 | OUT_CH_1_DPT_09 | Werte in µg/m3 | DPT9.030
9 | 7
9 | 8
9 | 9
9 | 10
9 | 11
9 | 12
9 | 13
9 | 14
9 | 15
9 | 16
9 | 17
9 | 18
9 | 19

## Profile_Gitlab_ETS
ID | Profil | ETS* | tested | Beschreibung
0 | F6-02-01 | x | passed | Rocker Switch 1 wipp | Rocker 1 2 4
1 | F6-02-02 | x | passed | Rocker Switch 2 wipp
2 | F6-02-03 | x
3 | F6-02-04 | x
4 | F6-03-01 | x
5 | F6-03-02 | x
6 | F6-04-01
7 | F6-04-02
8 | F6-05-01
9 | F6-10-00 | x | passed | Fenstergriff | Window Handle
10 | F6-10-01 | x |  | Fenstergriff (ERP2) | Window Handle ERP2
11 | D5-00-01 | x | passed | Fensterkontakt
12 | A5-02-01 | x |  |  | Temp
13 | A5-02-02 | x
14 | A5-02-03 | x
15 | A5-02-04 | x
16 | A5-02-05 | x
17 | A5-02-06 | x
18 | A5-02-07 | x
19 | A5-02-08 | x
20 | A5-02-09 | x
21 | A5-02-0A | x
22 | A5-02-0B | x
23 | A5-02-10 | x
24 | A5-02-11 | x
25 | A5-02-12 | x
26 | A5-02-13 | x
27 | A5-02-14 | x
28 | A5-02-15 | x
29 | A5-02-16 | x
30 | A5-02-17 | x
31 | A5-02-18 | x
32 | A5-02-19 | x
33 | A5-02-1A | x
34 | A5-02-1B | x
35 | A5-02-20 | x
36 | A5-02-30 | x
37 | A5-04-01 | x |  |  | Temp + Hum
38 | A5-04-02 | x
39 | A5-04-03 | x
40 | A5-05-01
41 | A5-06-01 | x |  |  | Light Sensor
42 | A5-06-02 | x
43 | A5-06-03 | x
44 | A5-07-01 | x |  | PIR | Occupancy Sensor
45 | A5-07-02 | x |  | PIR
46 | A5-07-03 | x | passed | PIR
47 | A5-08-01
48 | A5-08-02
49 | A5-08-03
50 | A5-09-02
51 | A5-09-03
52 | A5-09-04 | x
53 | A5-09-05 | x
54 | A5-09-06
55 | A5-09-07
56 | A5-09-08
57 | A5-09-09
58 | A5-09-0A
59 | A5-09-0B
60 | A5-10-01
61 | A5-10-02
62 | A5-10-03
63 | A5-10-04
64 | A5-10-05
65 | A5-10-06
66 | A5-10-07
67 | A5-10-08
68 | A5-10-09
69 | A5-10-0A
70 | A5-10-0B
71 | A5-10-0C
72 | A5-10-0D
73 | A5-10-10
74 | A5-10-11
75 | A5-10-12
76 | A5-10-13
77 | A5-10-14
78 | A5-10-15
79 | A5-10-16
80 | A5-10-17
81 | A5-10-18
82 | A5-10-19
83 | A5-10-1A
84 | A5-10-1B
85 | A5-10-1C
86 | A5-10-1D
87 | A5-10-1E
88 | A5-10-1F
89 | A5-10-20
90 | A5-10-21
91 | A5-11-01
92 | A5-11-02
93 | A5-11-03
94 | A5-11-04
95 | A5-12-00
96 | A5-12-01
97 | A5-12-02
98 | A5-12-03
99 | A5-12-04
100 | A5-12-05
101 | A5-12-10
102 | A5-13-01
103 | A5-13-02
104 | A5-13-03
105 | A5-13-04
106 | A5-13-05
107 | A5-13-06
108 | A5-13-10
109 | A5-14-01
110 | A5-14-02
111 | A5-14-03
112 | A5-14-04
113 | A5-14-05
114 | A5-14-06
115 | A5-20-01
116 | A5-20-02
117 | A5-20-03
118 | A5-20-04
119 | A5-20-10
120 | A5-20-11
121 | A5-20-12
122 | A5-30-01
123 | A5-30-02
124 | A5-30-03
125 | A5-30-04
126 | A5-30-05
127 | A5-37-01
128 | A5-38-08
129 | A5-38-09
130 | A5-3F-00
131 | A5-3F-7F
132 | D2-00-01
133 | D2-01-00
134 | D2-01-01
135 | D2-01-02
136 | D2-01-03
137 | D2-01-04
138 | D2-01-05
139 | D2-01-06
140 | D2-01-07
141 | D2-01-08
142 | D2-01-09
143 | D2-01-0A
144 | D2-01-0B
145 | D2-01-0C
146 | D2-01-0D
147 | D2-01-0E
148 | D2-01-0F
149 | D2-01-10
150 | D2-01-11
151 | D2-01-12 | x | passed | NodOn 2CH Aktor
152 | D2-01-13
153 | D2-01-14
154 | D2-02-00
155 | D2-02-01
156 | D2-02-02
157 | D2-03-00
158 | D2-03-01
159 | D2-03-02
160 | D2-04-00 | x | passed | CO2, Hum, Temp
161 | D2-04-01 | x
162 | D2-04-02 | x
163 | D2-04-03 | x
164 | D2-04-04 | x
165 | D2-04-05 | x
166 | D2-04-06 | x
167 | D2-04-07 | x
168 | D2-04-08 | x
169 | D2-04-09 | x
170 | D2-04-10 | x
171 | D2-04-1A | x
172 | D2-04-1B | x
173 | D2-04-1C | x
174 | D2-04-1D | x
175 | D2-04-1E | x
176 | D2-05-00
177 | D2-05-01
178 | D2-05-02
179 | D2-06-01
180 | D2-10-00
181 | D2-10-01
182 | D2-10-02
183 | D2-11-01
184 | D2-11-02
185 | D2-11-03
186 | D2-11-04
187 | D2-11-05
188 | D2-11-06
189 | D2-11-07
190 | D2-11-08
191 | D2-20-00
192 | D2-20-01
193 | D2-20-02
194 | D2-30-00
195 | D2-30-01
196 | D2-30-02
197 | D2-30-03
198 | D2-30-04
199 | D2-30-05
200 | D2-30-06
201 | D2-31-00
202 | D2-31-01
203 | D2-32-00
204 | D2-32-01
205 | D2-32-02
206 | D2-33-00
207 | D2-34-00
208 | D2-34-01
209 | D2-34-02
210 | D2-40-00
211 | D2-40-01
212 | D2-50-00
213 | D2-50-01
214 | D2-50-10
215 | D2-50-11
216 | D2-A0-01
217 | D2-B0-51
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
400
401
402 | A5-09-0C | x
403
404
405
406
407
408
409
410
411
412
413
414

## Profile_Gitlab_Kon
ID | Profil | Konnekting | tested | Beschreibung
0 | F6-02-01 | x | passed | Rocker Switch 1 wipp | Rocker 1 2 4
1 | F6-02-02 | x | passed | Rocker Switch 2 wipp
2 | F6-02-03
3 | F6-02-04
4 | F6-03-01
5 | F6-03-02
6 | F6-04-01
7 | F6-04-02
8 | F6-05-01
9 | F6-10-00 | x | passed | Fenstergriff | Window Handle
10 | F6-10-01 | x |  | Fenstergriff (ERP2) | Window Handle ERP2
11 | D5-00-01 | x | passed | Fensterkontakt
12 | A5-02-01 |  |  |  | Temp
13 | A5-02-02
14 | A5-02-03
15 | A5-02-04
16 | A5-02-05
17 | A5-02-06
18 | A5-02-07
19 | A5-02-08
20 | A5-02-09
21 | A5-02-0A
22 | A5-02-0B
23 | A5-02-10
24 | A5-02-11
25 | A5-02-12
26 | A5-02-13
27 | A5-02-14
28 | A5-02-15
29 | A5-02-16
30 | A5-02-17
31 | A5-02-18
32 | A5-02-19
33 | A5-02-1A
34 | A5-02-1B
35 | A5-02-20
36 | A5-02-30
37 | A5-04-01 |  |  |  | Temp + Hum
38 | A5-04-02
39 | A5-04-03
40 | A5-05-01
41 | A5-06-01 |  |  |  | Light Sensor
42 | A5-06-02
43 | A5-06-03
44 | A5-07-01 | x |  | PIR | Occupancy Sensor
45 | A5-07-02 | x |  | PIR
46 | A5-07-03 | x | passed | PIR
47 | A5-08-01
48 | A5-08-02
49 | A5-08-03
50 | A5-09-02
51 | A5-09-03
52 | A5-09-04
53 | A5-09-05
54 | A5-09-06
55 | A5-09-07
56 | A5-09-08
57 | A5-09-09
58 | A5-09-0A
59 | A5-09-0B
60 | A5-10-01
61 | A5-10-02
62 | A5-10-03
63 | A5-10-04
64 | A5-10-05
65 | A5-10-06
66 | A5-10-07
67 | A5-10-08
68 | A5-10-09
69 | A5-10-0A
70 | A5-10-0B
71 | A5-10-0C
72 | A5-10-0D
73 | A5-10-10
74 | A5-10-11
75 | A5-10-12
76 | A5-10-13
77 | A5-10-14
78 | A5-10-15
79 | A5-10-16
80 | A5-10-17
81 | A5-10-18
82 | A5-10-19
83 | A5-10-1A
84 | A5-10-1B
85 | A5-10-1C
86 | A5-10-1D
87 | A5-10-1E
88 | A5-10-1F
89 | A5-10-20
90 | A5-10-21
91 | A5-11-01
92 | A5-11-02
93 | A5-11-03
94 | A5-11-04
95 | A5-12-00
96 | A5-12-01
97 | A5-12-02
98 | A5-12-03
99 | A5-12-04
100 | A5-12-05
101 | A5-12-10
102 | A5-13-01
103 | A5-13-02
104 | A5-13-03
105 | A5-13-04
106 | A5-13-05
107 | A5-13-06
108 | A5-13-10
109 | A5-14-01
110 | A5-14-02
111 | A5-14-03
112 | A5-14-04
113 | A5-14-05
114 | A5-14-06
115 | A5-20-01
116 | A5-20-02
117 | A5-20-03
118 | A5-20-04
119 | A5-20-10
120 | A5-20-11
121 | A5-20-12
122 | A5-30-01
123 | A5-30-02
124 | A5-30-03
125 | A5-30-04
126 | A5-30-05
127 | A5-37-01
128 | A5-38-08
129 | A5-38-09
130 | A5-3F-00
131 | A5-3F-7F
132 | D2-00-01
133 | D2-01-00
134 | D2-01-01
135 | D2-01-02
136 | D2-01-03
137 | D2-01-04
138 | D2-01-05
139 | D2-01-06
140 | D2-01-07
141 | D2-01-08
142 | D2-01-09
143 | D2-01-0A
144 | D2-01-0B
145 | D2-01-0C
146 | D2-01-0D
147 | D2-01-0E
148 | D2-01-0F
149 | D2-01-10
150 | D2-01-11
151 | D2-01-12 | x | passed | NodOn 2CH Aktor
152 | D2-01-13
153 | D2-01-14
154 | D2-02-00
155 | D2-02-01
156 | D2-02-02
157 | D2-03-00
158 | D2-03-01
159 | D2-03-02
160 | D2-04-00 | x | passed | CO2, Hum, Temp
161 | D2-04-01
162 | D2-04-02
163 | D2-04-03
164 | D2-04-04
165 | D2-04-05
166 | D2-04-06
167 | D2-04-07
168 | D2-04-08
169 | D2-04-09
170 | D2-04-10
171 | D2-04-1A
172 | D2-04-1B
173 | D2-04-1C
174 | D2-04-1D
175 | D2-04-1E
176 | D2-05-00
177 | D2-05-01
178 | D2-05-02
179 | D2-06-01
180 | D2-10-00
181 | D2-10-01
182 | D2-10-02
183 | D2-11-01
184 | D2-11-02
185 | D2-11-03
186 | D2-11-04
187 | D2-11-05
188 | D2-11-06
189 | D2-11-07
190 | D2-11-08
191 | D2-20-00
192 | D2-20-01
193 | D2-20-02
194 | D2-30-00
195 | D2-30-01
196 | D2-30-02
197 | D2-30-03
198 | D2-30-04
199 | D2-30-05
200 | D2-30-06
201 | D2-31-00
202 | D2-31-01
203 | D2-32-00
204 | D2-32-01
205 | D2-32-02
206 | D2-33-00
207 | D2-34-00
208 | D2-34-01
209 | D2-34-02
210 | D2-40-00
211 | D2-40-01
212 | D2-50-00
213 | D2-50-01
214 | D2-50-10
215 | D2-50-11
216 | D2-A0-01
217 | D2-B0-51
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254

## Rocker
|  | 1st Action |  |  | EB | 2nd Action |  |  | SA | release | 1st Action |  |  | EB | 2nd Action |  |  | SA
| Press | B7 | B6 | B5 | B4 | B3 | B2 | B1 | B0 |  | B7 | B6 | B5 | B4 | B3 | B2 | B1 | B0
AI | 10 |  |  |  | 1 |  |  |  |  | 0
A0 | 30 |  |  | 1 | 1 |  |  |  |  | 20 |  |  | 1
BI | 50 |  | 1 |  | 1 |  |  |  |  | 40 |  | 1
B0 | 70 |  | 1 | 1 | 1 |  |  |  |  | 60 |  | 1 | 1
CI | 15 |  |  |  | 1 |  | 1 |  | 1 | 5 | [5 empty] | 1 |  | 1
C0 | 37 |  |  | 1 | 1 |  | 1 | 1 | 1 | 7 |  |  | 1 |  |  | 1 | 1 | 1
DI
D0
Contact | gesch | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | offen | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0

## MSG creator
| Bitoffset | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Databyte | 0: DB_3; 8: DB_2; 16: DB_1; 24: DB_0
| Bitoffset | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
EEP-Profil | DB_Bits | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
ARDUINO | Bits | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
D2-04-00 |  | DB_3 0: CO2; DB_2 8: HUM; DB_1 16: TEMP; DB_0 24: DN; DB_0 25: BAT; DB_0 28: x; DB_0 29: x; DB_0 30: x; DB_0 31: x
| DEZ | DB_3 0: 128; DB_2 8: 100; DB_1 16: 128; DB_0 24: 1; DB_0 25: 0; DB_0 26: 1; DB_0 27: 1; DB_0 28: 0; DB_0 29: 0; DB_0 30: 0; DB_0 31: 0
| HEX | DB_3 0: 80; DB_2 8: 64; DB_1 16: 80
A5-06-01 |  | DB_3 0: Supply Voltage; DB_2 8: ILL2; DB_1 16: ILL1; DB_0 24: x; DB_0 25: x; DB_0 26: x; DB_0 27: x; DB_0 28: LR; DB_0 29: x; DB_0 30: x; DB_0 31: RS
A5-06-02 | DEZ | DB_3 0: 128; DB_2 8: 128; DB_1 16: 128; DB_0 24: 0; DB_0 25: 0; DB_0 26: 0; DB_0 27: 0; DB_0 28: 0; DB_0 29: 0; DB_0 30: 0; DB_0 31: 1
| HEX | DB_3 0: 80; DB_2 8: 0; DB_1 16: 255; DB_0 24: 80
A5-06-03 |  | DB_3 0: Supply; DB_2 8: ILL; DB_1 18: x; DB_1 19: x; DB_1 20: x; DB_1 21: x; DB_1 22: x; DB_1 23: x; DB_0 24: x; DB_0 25: x; DB_0 26: x; DB_0 27: x; DB_0 28: LR; DB_0 29: x; DB_0 30: x; DB_0 31: x
| DEZ | DB_3 0: 128; DB_2 8: 999; DB_0 24: 0; DB_0 25: 0; DB_0 26: 0; DB_0 27: 0; DB_0 28: 1; DB_0 29: 0; DB_0 30: 0; DB_0 31: 0
[10 empty] | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| HEX | DB_3 0: 80; DB_2 8: F9 (MSB); DB_1 16: C0 (LSB); DB_0 24: 8
|  | Supply | [7 empty] | ILL | [15 empty] | PIR |  |  |  | LR
A5-07-03 | DEZ | 128 | [7 empty] | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
| HEX | DB_3 0: A0; DB_2 8: 20; DB_1 16: 40; DB_0 24: 88
A5-02-01 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | Temp | [7 empty] | x | x | x | x | LR | x | x | x
| DEZ | DB_1 16: 128
| HEX | DB_1 16: 80
A5-04-03 |  | DB_3 0: Hum; DB_2 8: x; DB_2 9: x; DB_2 10: x; DB_2 11: x; DB_2 12: x; DB_2 13: x; DB_2 14: Temp; DB_0 24: x; DB_0 25: x; DB_0 26: x; DB_0 27: x; DB_0 28: LR; DB_0 29: x; DB_0 30: x; DB_0 31: x
| DEZ | DB_2 14: 1023
HEX | bar: DB_2 14 to DB_1 16
A5-14-01 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | x | x | CT
DEZ
HEX
A5-14-02 |  | DB_3 0: SVC (0..5V)(0..250); DB_2 8: ILL(0..1000lx)(0...250); DB_1 16: x; DB_1 17: x; DB_1 18: x; DB_1 19: x; DB_1 20: x; DB_1 21: x; DB_1 22: x; DB_1 23: x; DB_0 24: x; DB_0 25: x; DB_0 26: x; DB_0 27: x; DB_0 28: LR; DB_0 29: x; DB_0 30: x; DB_0 31: CT
DEZ
HEX
A5-14-03 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | x | VIB | CT
DEZ
HEX
A5-14-04 |  | SVC (0..5V)(0..250) | [7 empty] | ILL(0..1000lx)(0...250) | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | LR | x | VIB | CT
DEZ
HEX
A5-14-05 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | x | VIB | x
DEZ
HEX
A5-14-06 |  | SVC (0..5V)(0..250) | [7 empty] | ILL(0..1000lx)(0...250) | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | LR | x | VIB | x
DEZ
HEX
A5-14-07 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | DCT | LCT | x
DEZ
HEX
A5-14-08 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | DCT | LCT | VIB
DEZ
HEX
A5-14-09 |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | CT
DEZ
HEX
A5-14-0A |  | SVC | [7 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | LR | CT |  | VIB
DEZ
HEX
A5-20-06 |  | current Pos (0..100dec = %) | [7 empty] | LOM | LO (local offset) | [6 empty] | TEMP | [7 empty] | TSL | ENIE | ES | DWO | LR | RCE | RSS | ACO
empfang | DEZ
HEX
°C/%
A5-20-06 |  | pos / Temp set point | [7 empty] | Temp from RCU | [7 empty] | REF | RFC |  |  | SB | SPS | TSL | SBY | bar: LR
senden | DEZ | [16 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0
HEX
A5-20-06 |  | Func | [5 empty] | TYPE | [6 empty] | Manufacture-ID | [10 empty] | TSL: Typ; DWO: stat; LR: LR
Teach In | HEZ | 20 | [5 empty] | 6 | [6 empty] | 49 | [10 empty] | 1 | x | x | 0 | 0 | x | x | x
|  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | dec to hex | [15 empty] | dec to hex
| HEX | 80 | [7 empty] | 30 | [7 empty] | 49 | [7 empty] | TSL: 80
A5-20-04 |  | Pos Set Point | [7 empty] | Temp Set Point | [8 empty] | MC | WUC | [5 empty] | ES: DSO; LR: LR; RCE: BLC; RSS: SER
senden | DEZ | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HEX
A5-20-04 |  | Func | [5 empty] | TYPE | [6 empty] | Manufacture-ID | [10 empty] | TSL: Typ; DWO: stat; LR: LR
Teach In | HEZ | 20 | [5 empty] | 4 | [6 empty] | 49 | [10 empty] | 1 | x | x | 0 | 0 | x | x | x
|  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HEX | 80 | [7 empty] | 20 | [7 empty] | 49 | [7 empty] | TSL: 80
A5-20-01 |  | pos / Temp set point | [7 empty] | Temp from RCU | [7 empty] | RIN | Service CMD |  |  | SB | SPS | SPN | RCU | bar: LR
senden | DEZ | [16 empty] | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
HEX
A5-20-01 |  | Func | [5 empty] | TYPE | [6 empty] | Manufacture-ID | [10 empty] | TSL: Typ; DWO: stat; LR: LR
Teach In | HEZ | 20 | [5 empty] | 1 | [6 empty] | 49 | [10 empty] | 1 | x | x | 0 | 0 | x | x | x
|  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HEX | 80 | [7 empty] | 8 | [7 empty] | 49 | [7 empty] | TSL: 80
D2-14-30 |  | DB_5 | [7 empty] | DB_4 | [7 empty] | DB_3 | [7 empty] | TSL: DB_2 | DB_1 | [7 empty] | DB_0
|  | SA | Status Bits |  |  |  | Time since last Event (85) | [7 empty] | ES |  | RPLT (170) | [7 empty] | TMP8 (34°C) | ACO: HUM (85%) | [7 empty] | HCI |  | IAQTH
|  | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0
|  | 5A | [7 empty] | AF | [7 empty] | 55 | [7 empty] | TSL: 55 | 54 | [7 empty] | B0
D2-14-41 |  | DB_8 | [7 empty] | DB_7 | [7 empty] | DB_6 | [7 empty] | TSL: DB_5 | DB_4 | [7 empty] | DB_3 | [7 empty] | DB_2 | [7 empty] | DB_1 | [7 empty] | DB_0
|  | Temp | [9 empty] | Hum | [7 empty] | Illum | [16 empty] | Status S |  | ACC X | [9 empty] | ACC Y | [9 empty] | ACC Z | [9 empty] | Con | N.U.
|  | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
|  | 96 | [7 empty] | D9 | [7 empty] | 80 | [15 empty] | 3 | [7 empty] | D2 | [7 empty] | F3 | [7 empty] | 57 | [7 empty] | C0 | bar: TSL
|  | 603 | [9 empty] | 102 | [7 empty] | 96 | [18 empty] | 489 | [9 empty] | 485 | [9 empty] | 702
[20 empty] | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1

## AES128
TYP STM
| AES128 |  | 4BYte CMAC |  |  | 3BYte Rolling Code
| 35 | 0x20 | 93 | C0 | FE | EE | 45 | 6E | 4F | 63 | 65 | 61 | 6E | 1 | 9E | B6 | 3B | 0
| 35 | 40 | 20 | 47 | 6D | 62 | 48 | 2E | 31 | 33 | 0 | 1 | 9E | B6 | 3B | 0
Anzahl Nachrichten | 0x20
Teach-Info | 0x00
Security Layer format | 0x93
SLF_DATA_ENC ¦ SLF_MAC_4Byte ¦ SLF_RLC_ALGO_24Bit
Security Key | 0x45 | 0x6E | 0x47 | 0x63 | 0x65 | 0x61 | 0x6E | 0x20 | 0x47 | 0x6D | 0x62 | 0x48 | 0x2E | 0x31 | 0x33 | 0x00
Rolling Code | 0xC0FFEE
TYP PTM
| AES128 |  | 3BYte CMAC |  |  | 2BYte Rolling Code
| 35 | 0x24 | 4B | 3E | 2D | 45 | 6E | 4F | 63 | 65 | 61 | 6E | 1 | 9E | B6 | 3B | 0
| 35 | 40 | 20 | 47 | 6D | 62 | 48 | 2E | 31 | 33 | 0 | 1 | 9E | B6 | 3B | 0
Anzahl Nachrichten | 0x20
Teach-Info | 0x04 | TEACH_INFO_PTM ¦ TEACH_INFO_PTM_ROCKERA
Security Layer format | 0x4B
SLF_DATA_ENC_VAES128 ¦ SLF_MAC_3Byte ¦ SLF_RLC_ALGO_16Bit
Security Key | 0x45 | 0x6E | 0x47 | 0x63 | 0x65 | 0x61 | 0x6E | 0x20 | 0x47 | 0x6D | 0x62 | 0x48 | 0x2E | 0x31 | 0x33 | 0x00
Rolling Code | 0x3E"D
Enocean ID
Beispiel Taster
| 35 | 24 | 4B | 28 | CE | BF | 28 | C6 | 1C | DF | FE | FA | 1B | D5 | 0
| 35 | 40 | FB | BE | 46 | B4 | 51 | E4 | 8 | FE | AD | 37 | 17 | FE | FA | 1B | D5 | 0
Anzahl Nachrichten | 0x20
Teach-Info | 0x04
Security Layer format | 0x4B
SLF_DATA_ENC_VAES128 ¦ SLF_MAC_4Byte ¦ SLF_RLC_ALGO_24Bit
Security Key | 0xBF | 0x28 | C6 | 1C | DF | FB | BE | 46 | B4 | 51 | E4 | 8 | FE | AD | 37 | 17
Rolling Code | 0x28CE
Enocean ID
Teach-IN INFO
| 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
| IDX |  | CNT |  | PSK | Type | INFO
Field IDX |  | A tech-in message can be divided in several telegrams. This field indicates the order of those telegrams. The first telegram receives the IDX = 0. In the case that the teach-in message is not divided the IDX shall be set to 0 and this message is the only one.
Field CNT |  | If IDX = 0 |  | CNT indicates the number of telegrams that the message is divided into
|  | If IDX not 0 |  | This field is reserved
Field PSK |  | If IDX = 0 |  | 0 = The RLC and the KEY are not encrypted
1 = The RLC and the KEY are encrypted with the pre-shared key. See 4.2
|  | If IDX not 0 |  | This field is reserved
Field TYPE |  | If IDX = 0 |  | Indicates if the application is a PTM or not
1) Non-specific type
2) PTM
|  | If IDX not 0 |  | This field is reserved
Field INFO |  | The interpretation of this field depends on the code in Field (Field IDX)
If IDX = 0 and TYPE = 0
0 = Unidirectional security teach-in procedure
1 = Bidirectional teach-in procedure
If IDX = 0 and TYPE = 1
0 = ROCKER A normal Teach In
1 = ROCKER B normal Teach In
SLF
| BSP | 0x4B
| 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
| RLC_ALGO |  |  | MAC_ALGO |  | DATA_ENC
| 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | =0x4B
| 2 |  |  | 1 |  | 3

## Umrechnungen
Temp Berechnung |  |  | Temp Berechnung
0 | 51 | °C | 0 | 255 |  | wakeup A5-20-04
0 | 255 |  | 0 | 51 | °C | 0 | 10 | sek
0 | 51 |  | 0 | 51 | umrechnung auf 0 bis Werte | 1 | 60 | sek
0 | 0.2 |  | 0 | 5 | Faktoren zum Umrechnen | 2 | 90 | sek
0 | 10.2 |  | 0 | 51 | Test ob Umrechnung passt | 3 | 120 | sek
[6 empty] | 50 | 1530 | sek
X | 0.2 |  | X | 5 |  | 50 | 3 | h
Y | 0 |  | Y | 0 |  | 51 | 6 | h
Wert = Byte / X + Y |  |  | Wert = Byte / X + Y |  |  | 52 | 9 | h
[6 empty] | 63 | 42 | h
Testwert | 200 |  | Testwert | 200
| 40 | °C |  | 40
Testwert | 21 | °C | [7 empty] | 10 | 4
| 105 | [8 empty] | 20
[9 empty] | 0.13333 | 30
[10 empty] | 40 | 4
[9 empty] | 7.5 | 50
60
[10 empty] | 70 | 4
80
90
12
2.5
250 |  | -1.25
5000
4

## Tests
| Status 1 | Status 2
geschlossen | 0 | 0 | handle down
gekippt | 1 | 0 | window state
geöffnet | 1 | 1 | all others

## TeachIn
| Databyte | DB_0
| Bitoffset | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| DB_Bits | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
|  | LRN Type | EEP Res | LRN Res | LRN Status | LRN Bit | --- | --- | ---
Teach-in | Query | 1 | x | x | 0 | 0 | x | x | x
0x80
| Response | 1 | 1 | 1 | 1 | 0 | x | x | x | case of success
0xF0

## Tabelle1
1 | 0 | 0
8 | 1 | 1
| 2 | 2
| 3 | 3 | LSB
| 4 | 4
| 5 | 5
| 6 | 6
| 7 | 7
2 | 0 | 8 | MSB
7 | 1 | 9
| 2 | 0 | LSB
| 3 | 1
| 4 | 2
| 5 | 3
| 6 | 4
| 7 | 5
3 | 0 | 6 | MSB
6 | 1 | 7
| 2 | 0 | LSB
| 3 | 1
| 4 | 2
| 5 | 3
| 6 | 4
| 7 | 5
4 | 0 | 6
5 | 1 | 7
| 2 | 8
| 3 | 9
| 4 | 10
| 5 | 11
| 6 | 12
| 7 | 13
5 | 0 | 14 | MSB
4 | 1 | 15
| 2 | 16
| 3 | 17
| 4 | 0
| 5 | 1
| 6 | 0 | LSB
| 7 | 1
6 | 0 | 2 | MSB
3 | 1 | 3
| 2 | 4
| 3 | 5
| 4 | 6
| 5 | 7
| 6 | 8
| 7 | 9
7 | 0 | 0 | LSB
2 | 1 | 1
| 2 | 2
| 3 | 3
| 4 | 4
| 5 | 5
| 6 | 6
| 7 | 7
8 | 0 | 8 | MSB
1 | 1 | 9
| 2 | 0 | LSB
| 3 | 1
| 4 | 2
| 5 | 3
| 6 | 4
| 7 | 5
9 | 0 | 6 | MSB
0 | 1 | 7
| 2 | 8
| 3 | 9
| 4 | 0
5
6
7